## Sheet1
ALP 801 Sub Test Code | Sub Test Name | Unit | Modus Code | Matrix | Analyte | Analyte Code | Extraction Name | Extraction Name Code | Extraction reagents/formulation | Extraction Ratio (Soil:Extractant) | Extraction Basis | Extraction Time | Analyte Measurement | Analyte Measurement Code | Observation Category | Reporting Unit | Reporting Unit Code | Acceptance | Status | Organization | Citation
101 | Sat. Paste Moisture | % | L_MODV2_SOIL_SATPP_001 | SOIL | saturation paste % | SATPP | Saturated paste | SATURATED_PASTE | Soil saturated with DI water, subsequent extraction and retained for analysis | Saturated paste | m/m | 4 hrs | Calculation | CALCULATION | MEASURED | % | prcnt | EXPERIMENTAL | RETIRED
102 | pH - sp | Unit | L_MODV2_SOIL_PH_013 | SOIL | pH | PH | Saturated paste | SATURATED_PASTE | Soil saturated with DI water, subsequent extraction and retained for analysis | Saturated paste | m/m | 4 hrs | H+ ISE | H_ISE | MEASURED | S.U. | su | OFFICIAL | VALID | USDA | US Salinity Staff, 1954. L.A Richards (ed.) Diagnosis and improvement of saline alkali soils. 160 p. USDA Handb. 60 US Govt. Print Office, Washington DC.
1021 | PO4 - sp | mg/L | L_MODV2_SOIL_PO4_001 | SOIL | phosphate | PO4 | Saturated paste | SATURATED_PASTE | Soil saturated with DI water, subsequent extraction and retained for analysis | Saturated paste | m/m | 4 hrs | ICP-OES / ICP-MS | ICP-OES_ICP-MS | MEASURED | g/kg | g1kg-1 | OFFICIAL | VALID | WERA-103 | Soil, Plant and Water Reference Methods for the Western Region, 4th Edition, 2013. Method S-15.1
103 | ECe - sp | dS/m | L_MODV2_SOIL_EC_004 | SOIL | electrical conductivity | EC | Saturated paste | SATURATED_PASTE | Soil saturated with DI water, subsequent extraction and retained for analysis | Saturated paste | m/m | 4 hrs | Electrical Conductivity | ELECTRICAL_CONDUCTIVITY | MEASURED | dS/m | dS1m-1 | OFFICIAL | VALID | USDA | US Salinity Staff, 1954. L.A Richards (ed.) Diagnosis and improvement of saline alkali soils. 160 p. USDA Handb. 60 US Govt. Print Office, Washington DC.
104 | HCO3 - sp | mmolc/L | L_MODV2_SOIL_HCO3_003 | SOIL | bicarbonate | HCO3 | Saturated paste | SATURATED_PASTE | Soil saturated with DI water, subsequent extraction and retained for analysis | Saturated paste | m/m | 4 hrs | Titration | TITRATION | MEASURED | meq/L | meq1l-1 | OFFICIAL | VALID | WERA-103 | Soil, Plant and Water Reference Methods for the Western Region, 4th Edition, 2013. Method S-15.1
105 | K - sp | mmolc/L | L_MODV2_SOIL_K_042 | SOIL | potassium | K | Saturated paste | SATURATED_PASTE | Soil saturated with DI water, subsequent extraction and retained for analysis | Saturated paste | m/m | 4 hrs | ICP-OES / AAS | ICP-OES_AAS | MEASURED | meq/L | meq1l-1 | OFFICIAL | VALID | USDA | US Salinity Staff, 1954. L.A Richards (ed.) Diagnosis and improvement of saline alkali soils. 160 p. USDA Handb. 60 US Govt. Print Office, Washington DC.
106 | Ca - sp | mmolc/L | L_MODV2_SOIL_CA_031 | SOIL | calcium | CA | Saturated paste | SATURATED_PASTE | Soil saturated with DI water, subsequent extraction and retained for analysis | Saturated paste | m/m | 4 hrs | ICP-OES / AAS | ICP-OES_AAS | MEASURED | meq/L | meq1l-1 | OFFICIAL | VALID | USDA | US Salinity Staff, 1954. L.A Richards (ed.) Diagnosis and improvement of saline alkali soils. 160 p. USDA Handb. 60 US Govt. Print Office, Washington DC.
107 | Mg - sp | mmolc/L | L_MODV2_SOIL_MG_030 | SOIL | magnesium | MG | Saturated paste | SATURATED_PASTE | Soil saturated with DI water, subsequent extraction and retained for analysis | Saturated paste | m/m | 4 hrs | ICP-OES / AAS | ICP-OES_AAS | MEASURED | meq/L | meq1l-1 | OFFICIAL | VALID | USDA | US Salinity Staff, 1954. L.A Richards (ed.) Diagnosis and improvement of saline alkali soils. 160 p. USDA Handb. 60 US Govt. Print Office, Washington DC.
108 | Na - sp | mmolc/L | L_MODV2_SOIL_NA_019 | SOIL | sodium | NA | Saturated paste | SATURATED_PASTE | Soil saturated with DI water, subsequent extraction and retained for analysis | Saturated paste | m/m | 4 hrs | ICP-OES / AAS | ICP-OES_AAS | MEASURED | meq/L | meq1l-1 | OFFICIAL | VALID | USDA | US Salinity Staff, 1954. L.A Richards (ed.) Diagnosis and improvement of saline alkali soils. 160 p. USDA Handb. 60 US Govt. Print Office, Washington DC.
109 | SAR - sp | value | L_MODV2_SOIL_SAR_003 | SOIL | sodium adsorption ratio | SAR | Saturated paste | SATURATED_PASTE | Soil saturated with DI water, subsequent extraction and retained for analysis | Saturated paste | m/m | 4 hrs | Calculation | CALCULATION | MEASURED | ratio | ratio | OFFICIAL | VALID | USDA, WERA-103 | US Salinity Staff, 1954. L.A Richards (ed.) Diagnosis and improvement of saline alkali soils. 160 p. USDA Handb. 60 US Govt. Print Office, Washington DC.
110 | Cl - sp | mmolc/L | L_MODV2_SOIL_CL_010 | SOIL | chloride | CL | Saturated paste | SATURATED_PASTE | Soil saturated with DI water, subsequent extraction and retained for analysis, titration with Hg Thiocyanate | Saturated paste | m/m | 4 hrs | Titration | TITRATION | MEASURED | meq/L | meq1l-1 | OFFICIAL | VALID | USDA | US Salinity Staff, 1954. L.A Richards (ed.) Diagnosis and improvement of saline alkali soils. 160 p. USDA Handb. 60 US Govt. Print Office, Washington DC.
111 | SO4 - sp | mmolc/L | L_MODV2_SOIL_SO4S_006 | SOIL | sulfate-sulfur | SO4S | Saturated paste | SATURATED_PASTE | Soil saturated with DI water, subsequent extraction and retained for analysis | Saturated paste | m/m | 4 hrs | Ion Chromatography | ION_CHROMATOGRAPHY | MEASURED | meq/L | meq1l-1 | PROVISIONAL | VALID | USDA | US Salinity Staff, 1954. L.A Richards (ed.) Diagnosis and improvement of saline alkali soils. 160 p. USDA Handb. 60 US Govt. Print Office, Washington DC.
112 | NO3 - sp | mmolc/L | L_MODV2_SOIL_NO3N_017 | SOIL | nitrate-nitrogen | NO3N | Saturated paste | SATURATED_PASTE | Soil saturated with DI water, subsequent extraction and retained for analysis, Chromotrophic Acid | Saturated paste | m/m | 4 hrs | Spectrophotometric | SPECTROPHOTOMETRIC | MEASURED | g/kg | g1kg-1 | OFFICIAL | VALID | USDA | US Salinity Staff, 1954. L.A Richards (ed.) Diagnosis and improvement of saline alkali soils. 160 p. USDA Handb. 60 US Govt. Print Office, Washington DC.
113 | B - sp | mg/L | L_MODV2_SOIL_B_022 | SOIL | boron | B | Saturated paste | SATURATED_PASTE | Soil saturated with DI water, subsequent extraction and retained for analysis | Saturated paste | m/m | 4 hrs / 16 hrs | ICP-OES / ICP-MS | ICP-OES_ICP-MS | MEASURED | g/kg | g1kg-1 | OFFICIAL | VALID | WERA-103 | Soil, Plant and Water Reference Methods for the Western Region, 4th Edition, 2013. Method S-15.1
Soil pH & EC
114 | Soil EC (1:1) | (dS/m) | L_MODV2_SOIL_EC_001 | SOIL | electrical conductivity | EC | EC Slurry | EC_SLURRY | Deionized Water | 1:1 | m/m | 10 min | Electrical Conductivity | ELECTRICAL_CONDUCTIVITY | MEASURED | dS/m | dS1m-1 | OFFICIAL | VALID | WERA-103 | Soil, Plant and Water Reference Methods for the Western Region, 4th Edition, 2013. Method S-2.20
115 | Soil EC (1:2) | (dS/m) | L_MODV2_SOIL_EC_002 | SOIL | electrical conductivity | EC | EC Slurry | EC_SLURRY | Deionized Water | 1:2 | m/m | 10 min | Electrical Conductivity | ELECTRICAL_CONDUCTIVITY | MEASURED | dS/m | dS1m-1 | OFFICIAL | VALID | WERA-103 | Soil, Plant and Water Reference Methods for the Western Region, 4th Edition, 2013. Method S-2.20
116 | pH (1:1) Water | Unit | L_MODV2_SOIL_PH_005 | SOIL | pH | PH | Slurry | SLURRY | Deionized Water | 1:1 | m/v | 30 min | H+ ISE | H_ISE | MEASURED | S.U. | su | OFFICIAL | VALID | NCERA-13 | North Central Regional Research Publication No. 221 (Revised 2015), Chapter 4, pp 4.1-4.2.
117 | pH (1:2) Water | Unit | L_MODV2_SOIL_PH_006 | SOIL | pH | PH | Slurry | SLURRY | Deionized Water | 1:2 | m/v | 15 min | H+ ISE | H_ISE | MEASURED | S.U. | su | OFFICIAL | VALID | WERA-103 | Soil, Plant and Water Reference Methods for the Western Region, 4th Edition, 2013, WERA-103. Method S-2.22
118 | pH (1:1) 0.01M CaCl2 | Unit | L_MODV2_SOIL_PH_002 | SOIL | pH | PH | Calcium Chloride | CALCIUM_CHLORIDE | 0.01 M CaCl2 | 1:1 | m/v | 15 min | H+ ISE | H_ISE | MEASURED | S.U. | su | OFFICIAL | VALID | WERA-103 | Soil, Plant and Water Reference Methods for the Western Region, 4th Edition, 2013, WERA-103. Method S-2.20
119 | pH (1:2) 0.01M CaCl2 | Unit | L_MODV2_SOIL_PH_003 | SOIL | pH | PH | Calcium Chloride | CALCIUM_CHLORIDE | 0.01 M CaCl2 | 1:2 | m/v | 15 min | H+ ISE | H_ISE | MEASURED | S.U. | su | OFFICIAL | VALID | SERA-6 | Soil Test Methods From the Southeastern United States, SERA-IEG-6, 2014, Chapter 3.2
1192 | pH (1:1) 1.0M KCl | Unit | L_MODV2_SOIL_PH_009 | SOIL | pH | PH | Potassium Chloride | POTASSIUM_CHLORIDE | 1.0 M KCl solution | 1:1 | m/v | 15 min | H+ ISE | H_ISE | MEASURED | S.U. | su | OFFICIAL | VALID | SERA-6 | Soil Test Methods From the Southeastern United States, SERA-IEG-6, 2014, Chapter 3.2
120 | Soil EC (1:5) H2O | (dS/m) | L_MODV2_SOIL_EC_003 | SOIL | electrical conductivity | EC | EC Slurry | EC_SLURRY | Deionized Water | 1:5 | m/m | 10 min | Electrical Conductivity | ELECTRICAL_CONDUCTIVITY | MEASURED | dS/m | dS1m-1 | PROVISIONAL | VALID
121 | Soil pH (1:5) 0.01 M CaCl2 | Unit | L_MODV2_SOIL_PH_011 | SOIL | pH | PH | Potassium Chloride | POTASSIUM_CHLORIDE | 0.01 M CaCl2 solution | 1:5 | m/v | Stir, 30 minute settle | H+ ISE | H_ISE | MEASURED | S.U. | su | EXPERIMENTAL | VALID
Buffer pH, Lime Req.
122 | SMP Buffer pH | Unit | L_MODV2_SOIL_BPH_009 | SOIL | buffer pH | BPH | SMP | SMP | SMP: 0.013 M p-nitrophenol + 0.015M K2CrO4 + 0.36 M CaCl2 + 0.0126 M Ca(CO2CH3)2, and 0.019 M triethanolamine, pH of 7.50 | 1:2 | v/v | 30 min | H+ ISE | H_ISE | MEASURED | S.U. | su | OFFICIAL | VALID | NCERA-13 | North Central Regional Research Publication No. 221 (Revised 2015), Chapter 12, pp 12.5-12.6.
123 | Sikora Buffer pH | Unit | L_MODV2_SOIL_BPH_007 | SOIL | buffer pH | BPH | Sikora 1 | SIKORA_1 | Sikora 1: 2.0 M KCl + 0.089M acetic acid + 0.031M MES + 0.014 M imidazole + 0.070 M triethanolamine, pH of 7.70 | 1:2 | v/v | 30 min | H+ ISE | H_ISE | MEASURED | S.U. | su | OFFICIAL | VALID | SERA-6 | Soil Test Methods From the Southeastern United States, SERA-IEG-6, 2014, Chapter 3.4
1232 | Sikora 2 Buffer pH | Unit | L_MODV2_SOIL_BPH_008 | SOIL | buffer pH | BPH | Sikora 2 | SIKORA_2 | Sikora 2: 1.0 M KCl + 0.089 M acetic acid + 0.031 M MES + 0.014 M imidazole + 0.070 M triethanolamine, pH 7.53 | 1:2 | v/v | 30 min | H+ ISE | H_ISE | MEASURED | S.U. | su | OFFICIAL | VALID | SERA-6 | Soil Test Methods From the Southeastern United States, SERA-IEG-6, 2014, Chapter 3.5
124 | Adams-Evans Buf pH | Unit | L_MODV2_SOIL_BPH_001 | SOIL | buffer pH | BPH | Adams-Evans | ADAMS-EVANS | Adams-Evans: 1.0 M KCl, 0.14 M p-nitrophenol + 0.24 M boric acid, pH 8.00 | 1:2 | v/v | 30 min | H+ ISE | H_ISE | MEASURED | S.U. | su | OFFICIAL | VALID | SERA-6 | Soil Test Methods From the Southeastern United States, SERA-IEG-6, 2014, Chapter 3.8
125 | Woodruff Buf. pH | Unit | L_MODV2_SOIL_BPH_010 | SOIL | buffer pH | BPH | Woodruff | WOODRUFF | Woodruff: 0.063 M Ca(CH3COOH)2 + 0.086 M p-nitrophenol + 0.072M salicylic acid + 0.031 M NaOH, pH 7.00 | 1:2 | v/v | 30 min | H+ ISE | H_ISE | MEASURED | S.U. | su | OFFICIAL | VALID | SSSA | Woodruff, C. M. 1947. Soil Sci. Soc. Amer. Proc. 12:141-142.
126 | Mehlich Modified Buffer pH | Unit | L_MODV2_SOIL_BPH_005 | SOIL | buffer pH | BPH | Mehlich Buffer, Modified | MEHLICH_BUFFER_MODIFIED | Mod Mehlich: 0.043 M acetic acid + 0.034 M triethanolamine + 0.8 M NH4Cl, 0.08 M CaCl2.2 H2O + 0.08 M Na glycerophosphate, pH 6.60 | 1:2 | v/v | 30 min | H+ ISE | H_ISE | MEASURED | S.U. | su | OFFICIAL | VALID | SERA-6 | Soil Test Methods From the Southeastern United States, SERA-IEG-6, 2014, Chapter 3.6
1261 | H+ cmol/kg | cmol/kg
Inorganic Nitrogen (NO3-N & NH4-N)
127 | NO3-N Cd. Rd. | mg/kg | L_MODV2_SOIL_NO3N_010 | SOIL | nitrate-nitrogen | NO3N | Potassium Chloride | POTASSIUM_CHLORIDE | 2.0 M KCl | 1:5 | m/v | 30 min | Cd Red/Spectrophotometric | CD_RED_SPECTROPHOTOMETRIC | MEASURED | g/kg | g1kg-1 | OFFICIAL | VALID | WERA-103 | Soil, Plant and Water Reference Methods for the Western Region, 2005, WERA-103. Method S-3.10, pp 39-40
128 | NO3-N ISE | mg/kg | L_MODV2_SOIL_NO3N_011 | SOIL | nitrate-nitrogen | NO3N | Potassium Chloride | POTASSIUM_CHLORIDE | 2.0 M KCl | 1:2.5 | m/v | 5 min | Ion Selective Electrode | ION_SELECTIVE_ELECTRODE | MEASURED | g/kg | g1kg-1 | OFFICIAL | VALID | NCERA-13 | North Central Regional Research Publication No. 221 (Revised 2015), Chapter 5, pp 5.2-5.3.
129 | NO3-N CTA | mg/kg | L_MODV2_SOIL_NO3N_004 | SOIL | nitrate-nitrogen | NO3N | Calcium Sulfate | CALCIUM_SULFATE | Calcium Sulfate/ Chromotropic Acid | 1:5 | m/v | 5 min | Spectrophotometric | SPECTROPHOTOMETRIC | MEASURED | g/kg | g1kg-1 | OFFICIAL | VALID | WERA-103 | Soil, Plant and Water Reference Methods for the Western Region, 2005, WERA-103. Method S-3.30, pp 41-42
130 | NO3-N Ion Chr. | mg/kg | L_MODV2_SOIL_NO3N_005 | SOIL | nitrate-nitrogen | NO3N | Slurry | SLURRY | Deionized Water | 1:1 | m/v |  | Cd Red/Spectrophotometric | CD_RED_SPECTROPHOTOMETRIC | MEASURED | meq/L | meq1l-1 | EXPERIMENTAL | RETIRED
131 | NH4 - N (1.0 N KCl Extr.) | mg/kg | L_MODV2_SOIL_NH4N_008 | SOIL | ammonium-nitrogen | NH4N | Potassium Chloride | POTASSIUM_CHLORIDE | 2.0 M KCl | 1:5 | m/v | 30 min | Spectrophotometric | SPECTROPHOTOMETRIC | MEASURED | g/kg | g1kg-1 | OFFICIAL | VALID | NCERA-13 | North Central Regional Research Publication No. 221 (Revised 2015), Chapter 5, pp 5.1-5.3.
132 | Amino Nitrogen (ISNT) | mg/kg
Phosphorus and Sulfur
133 | PO4-P Bray P1 (1:10) Spec | mg/kg | L_MODV2_SOIL_P_004 | SOIL | phosphorus | P | Bray 1 | BRAY_1 | Bray P1, 0.03N NH4F + 0.025N HCl, pH 2.7 | 1:10 | m/v | 5 min | Spectrophotometric | SPECTROPHOTOMETRIC | MEASURED | g/kg | g1kg-1 | OFFICIAL | VALID | NCERA-13 | North Central Regional Research Publication No. 221 (Revised 2015), Chapter 12, pp 12.5-12.6.
134 | PO4-P Bray P1 (1:7) Spec | mg/kg | L_MODV2_SOIL_P_005 | SOIL | phosphorus | P | Bray 1 | BRAY_1 | Bray P1, 0.03N NH4F + 0.025N HCl, pH 2.7 | 1:7 | m/v | 5 min | Spectrophotometric | SPECTROPHOTOMETRIC | MEASURED | g/kg | g1kg-1 | OFFICIAL | VALID | NCERA-13 | Soil, Plant and Water Reference Methods for the Western Region, 4th Edition, 2013. Method S-4.2
135 | PO4-P Olsen/Bicarb (1:20) Spec | mg/kg | L_MODV2_SOIL_P_045 | SOIL | phosphorus | P | Sodium Bicarbonate | SODIUM_BICARBONATE | Bicarbonate, 0.5M NaHCO3, pH 8.5 | 1:20 | m/v | 30 min | Spectrophotometric | SPECTROPHOTOMETRIC | MEASURED | g/kg | g1kg-1 | OFFICIAL | VALID | WERA-103 | Soil, Plant and Water Reference Methods for the Western Region, 4th Edition, 2013, WERA-103. Method S-4.10
136 | PO4-P M. Morgan Spec | mg/kg | L_MODV2_SOIL_P_036 | SOIL | phosphorus | P | Modified Morgan | MODIFIED_MORGAN | Modified Morgan (0.62 N NH4OH + 1.25 N CH3COOH) | 1:10 | m/v | 15 min | ICP-OES | ICP-OES | MEASURED | g/kg | g1kg-1 | OFFICIAL | VALID | NECC-1812 | Recommended Soil Testing Procedures for the Northeastern United States, NECC-1812 Publication No. 493, 3rd Edition, 2011, Chapter 5.
1362 | PO4-P M. Morgan ICP |  | L_MODV2_SOIL_P_037 | SOIL | phosphorus | P | Modified Morgan | MODIFIED_MORGAN | Modified Morgan (0.62 N NH4OH + 1.25 N CH3COOH) | 1:10 | m/v | 15 min | Spectrophotometric | SPECTROPHOTOMETRIC | MEASURED | g/kg | g1kg-1 | OFFICIAL | VALID | NECC-1812 | Recommended Soil Testing Procedures for the Northeastern United States, NECC-1812 Publication No. 493, 3rd Edition, 2011, Chapter 5.
137 | PO4-P Mod. Kelowna ICP | mg/kg | L_MODV2_SOIL_P_023 | SOIL | phosphorus | P | Kelowna | KELOWNA | Kelowna, 0.25N HOAc + 0.015N NH4F | 1:10 | m/v | 5 min | ICP-OES | ICP-OES | MEASURED | g/kg | g1kg-1 | OFFICIAL | VALID | AAFC | Determination of available phosphorus in acid and calcareous soils with the Kelowna multi-element extractant. Soil Sci. Vol 146, No. 4, 284-291.
138 | PO4-P Strong Bray P2 (1:10) Spec | mg/kg | L_MODV2_SOIL_P_006 | SOIL | phosphorus | P | Bray 2 | BRAY_2 | Bray P2, 0.03N NH4F + 0.10N HCl, pH 1.7 | 1:10 | m/v | 5 min | Spectrophotometric | SPECTROPHOTOMETRIC | MEASURED | g/kg | g1kg-1 | OFFICIAL | VALID | University of Missouri | Extractable Soil Phosphorus Bray I and Bray II Methods, Chapter 12, 2012. Soil Testing In Missouri: A Guide for Conducting Soil Tests in Missouri, EC923, University of Missouri.
139 | PO4-P Water Soluble | mg/kg | L_MODV2_SOIL_P_015 | SOIL | phosphorus | P | Slurry | SLURRY | Deionized Water | 1:5 | m/v | 30 min |  |  | MEASURED | g/kg | g1kg-1 | EXPERIMENTAL | VALID
140 | SO4 - S Ca3(PO4)2 Extr. | mg/kg | L_MODV2_SOIL_SO4S_001 | SOIL | sulfate-sulfur | SO4S | Calcium Phosphate | CALCIUM_PHOSPHATE | Calcium Phosphate | 1:2.5 | m/v | 30 min | Turbidimetric | TURBIDIMETRIC | MEASURED | g/kg | g1kg-1 | OFFICIAL | VALID | NCERA-13 | https://extension.missouri.edu/media/wysiwyg/Extensiondata/Pub/pdf/specialb/sb1001.pdf
Bases (1:10)
141 | K (1.0 N NH4oAc -pH 7) | mg/kg | L_MODV2_SOIL_K_002 | SOIL | potassium | K | Ammonium Acetate | AMMONIUM_ACETATE | 1.0 N Ammonium Acetate, pH 7.0 | 1:10 | m/v | 5 min | ICP-OES | ICP-OES | MEASURED | g/kg | g1kg-1 | OFFICIAL | VALID | NCERA-13 | North Central Regional Research Publication No. 221 (Revised 2015), Chapter 7, pp 7.1-7.3
142 | Ca (1.0 N NH4oAc -pH 7) | mg/kg | L_MODV2_SOIL_CA_002 | SOIL | calcium | CA | Ammonium Acetate | AMMONIUM_ACETATE | 1.0 N Ammonium Acetate, pH 7.0 | 1:10 | m/v | 5 min | ICP-OES / AAS | ICP-OES_AAS | MEASURED | g/kg | g1kg-1 | OFFICIAL | VALID | NCERA-13 | North Central Regional Research Publication No. 221 (Revised 2015), Chapter 7, pp 7.1-7.3
143 | Mg (1.0 N NH4oAc -pH 7) | mg/kg | L_MODV2_SOIL_MG_002 | SOIL | magnesium | MG | Ammonium Acetate | AMMONIUM_ACETATE | 1.0 N Ammonium Acetate, pH 7.0 | 1:10 | m/v | 5 min | ICP-OES / AAS | ICP-OES_AAS | MEASURED | g/kg | g1kg-1 | OFFICIAL | VALID | NCERA-13 | North Central Regional Research Publication No. 221 (Revised 2015), Chapter 7, pp 7.1-7.3
144 | Na (1.0 N NH4oAc -pH 7) | mg/kg | L_MODV2_SOIL_NA_001 | SOIL | sodium | NA | Ammonium Acetate | AMMONIUM_ACETATE | 1.0 N Ammonium Acetate, pH 7.0 | 1:10 | m/v | 5 min | ICP-OES / AAS | ICP-OES_AAS | MEASURED | g/kg | g1kg-1 | OFFICIAL | VALID | NCERA-13 | North Central Regional Research Publication No. 221 (Revised 2015), Chapter 7, pp 7.1-7.3
145 | K Bray Extractable | mg/kg | L_MODV2_SOIL_K_007 | SOIL | potassium | K | Bray 1 | BRAY_1 | Bray P1, 0.03N NH4F + 0.025N HCl, pH 2.7 | 1:10 | m/v | 5 min | ICP-OES / AAS | ICP-OES_AAS | MEASURED | g/kg | g1kg-1 | OFFICIAL | VALID | NCERA-13 | North Central Regional Research Publication No. 221 (Revised 2015), Chapter 12, pp 12.5-12.6.
146 | K- Bicarb. (Olsen) Spec | mg/kg | L_MODV2_SOIL_K_043 | SOIL | potassium | K | Sodium Bicarbonate | SODIUM_BICARBONATE | Bicarbonate, 0.5M NaHCO3, pH 8.5 | 1:20 | m/v | 30 min | ICP-OES / AAS | ICP-OES_AAS | MEASURED | g/kg | g1kg-1 | PROVISIONAL | VALID | WERA-103 | Soil, Plant and Water Reference Methods for the Western Region, 4th Edition, 2013, WERA-103. Method S-4.10
147 | K Modified Morgan ICP - AES | mg/kg | L_MODV2_SOIL_K_034 | SOIL | potassium | K | Modified Morgan | MODIFIED_MORGAN | Modified Morgan (0.62 N NH4OH + 1.25 N CH3COOH) | 1:10 | m/v | 15 min | ICP-OES | ICP-OES | MEASURED | g/kg | g1kg-1 | OFFICIAL | VALID | NECC-1812 | Recommended Soil Testing Procedures for the Northeastern United States, NECC-1812 Publication No. 493, 3rd Edition, 2011, Chapter 5.
148 | Ca Modified Morgan ICP-AES | mg/kg | L_MODV2_SOIL_CA_024 | SOIL | calcium | CA | Modified Morgan | MODIFIED_MORGAN | Modified Morgan (0.62 N NH4OH + 1.25 N CH3COOH) | 1:10 | m/v | 15 min | ICP-OES / AAS | ICP-OES_AAS | MEASURED | g/kg | g1kg-1 | OFFICIAL | VALID | NECC-1812 | Recommended Soil Testing Procedures for the Northeastern United States, NECC-1812 Publication No. 493, 3rd Edition, 2011, Chapter 5.
1481 | Mg Modified Morgan ICP-AES | mg/kg | L_MODV2_SOIL_MG_024 | SOIL | magnesium | MG | Modified Morgan | MODIFIED_MORGAN | Modified Morgan (0.62 N NH4OH + 1.25 N CH3COOH) | 1:10 | m/v | 15 min | ICP-OES / AAS | ICP-OES_AAS | MEASURED | g/kg | g1kg-1 | OFFICIAL | VALID | NECC-1812 | Recommended Soil Testing Procedures for the Northeastern United States, NECC-1812 Publication No. 493, 3rd Edition, 2011, Chapter 5.
1482 | Zn Modified Morgan ICP-AES | mg/kg | L_MODV2_SOIL_ZN_018 | SOIL | zinc | ZN | Modified Morgan | MODIFIED_MORGAN | Modified Morgan (0.62 N NH4OH + 1.25 N CH3COOH) | 1:10 | m/v | 15 min | ICP-OES | ICP-OES | MEASURED | g/kg | g1kg-1 | OFFICIAL | VALID | NECC-1812 | Recommended Soil Testing Procedures for the Northeastern United States, NECC-1812 Publication No. 493, 3rd Edition, 2011, Chapter 5.
1483 | Cu Modified Morgan ICP-AES | mg/kg | L_MODV2_SOIL_CU_017 | SOIL | copper | CU | Modified Morgan | MODIFIED_MORGAN | Modified Morgan (0.62 N NH4OH + 1.25 N CH3COOH) | 1:10 | m/v | 15 min | ICP-OES | ICP-OES | MEASURED | g/kg | g1kg-1 | OFFICIAL | VALID | NECC-1812 | Recommended Soil Testing Procedures for the Northeastern United States, NECC-1812 Publication No. 493, 3rd Edition, 2011, Chapter 5.
1484 | Mn Modified Morgan ICP-AES | mg/kg | L_MODV2_SOIL_MN_017 | SOIL | manganese | MN | Modified Morgan | MODIFIED_MORGAN | Modified Morgan (0.62 N NH4OH + 1.25 N CH3COOH) | 1:10 | m/v | 15 min | ICP-OES | ICP-OES | MEASURED | g/kg | g1kg-1 | OFFICIAL | VALID | NECC-1812 | Recommended Soil Testing Procedures for the Northeastern United States, NECC-1812 Publication No. 493, 3rd Edition, 2011, Chapter 5.
149 | Aluminum KCL Extr. | mg/kg | L_MODV2_SOIL_AL_018 | SOIL | aluminum | AL | Potassium Chloride | POTASSIUM_CHLORIDE | 1.0 M KCl | 1:5 | m/v | 30 min | ICP-OES | ICP-OES | MEASURED | g/kg | g1kg-1 | OFFICIAL | VALID | WERA-103 | Soil, Plant and Water Reference Methods for the Western Region, 4th Edition, 2013. Method S-15.1
Mehlich-1 Multi Element (scoop)
150 | P | mg/kg | L_MODV2_SOIL_P_026 | SOIL | phosphorus | P | Mehlich 1 | MEHLICH_1 | Mehlich 1 (0.05 M HCl + 0.0125 M H2SO4) | 1:5 | m/v | 5 min | ICP-OES | ICP-OES | MEASURED | g/kg | g1kg-1 | OFFICIAL | VALID | SERA-6 | Soil Test Methods From the Southeastern United States, SERA-IEG-6, 2014, Chapter 4.2
151 | K | mg/kg | L_MODV2_SOIL_K_029 | SOIL | potassium | K | Mehlich 1 | MEHLICH_1 | Mehlich 1 (0.05 M HCl + 0.0125 M H2SO4) | 1:5 | m/v | 5 min | ICP-OES / AAS | ICP-OES_AAS | MEASURED | g/kg | g1kg-1 | OFFICIAL | VALID | SERA-6 | Soil Test Methods From the Southeastern United States, SERA-IEG-6, 2014, Chapter 4.2
152 | Ca | mg/kg | L_MODV2_SOIL_CA_018 | SOIL | calcium | CA | Mehlich 1 | MEHLICH_1 | Mehlich 1 (0.05 M HCl + 0.0125 M H2SO4) | 1:5 | m/v | 5 min | ICP-OES / AAS | ICP-OES_AAS | MEASURED | g/kg | g1kg-1 | OFFICIAL | VALID | SERA-6 | Soil Test Methods From the Southeastern United States, SERA-IEG-6, 2014, Chapter 4.2
153 | Mg | mg/kg | L_MODV2_SOIL_MG_019 | SOIL | magnesium | MG | Mehlich 1 | MEHLICH_1 | Mehlich 1 (0.05 M HCl + 0.0125 M H2SO4) | 1:5 | m/v | 5 min | ICP-OES / AAS | ICP-OES_AAS | MEASURED | g/kg | g1kg-1 | OFFICIAL | VALID | SERA-6 | Soil Test Methods From the Southeastern United States, SERA-IEG-6, 2014, Chapter 4.2
154 | Mn | mg/kg | L_MODV2_SOIL_MN_012 | SOIL | manganese | MN | Mehlich 1 | MEHLICH_1 | Mehlich 1 (0.05 M HCl + 0.0125 M H2SO4) | 1:5 | m/v | 5 min | ICP-OES / AAS | ICP-OES_AAS | MEASURED | g/kg | g1kg-1 | OFFICIAL | VALID | SERA-6 | Soil Test Methods From the Southeastern United States, SERA-IEG-6, 2014, Chapter 4.2
155 | Zn | mg/kg | L_MODV2_SOIL_ZN_012 | SOIL | zinc | ZN | Mehlich 1 | MEHLICH_1 | Mehlich 1 (0.05 M HCl + 0.0125 M H2SO4) | 1:5 | m/v | 5 min | ICP-OES / AAS | ICP-OES_AAS | MEASURED | g/kg | g1kg-1 | OFFICIAL | VALID | SERA-6 | Soil Test Methods From the Southeastern United States, SERA-IEG-6, 2014, Chapter 4.2
Mehlich-3 Mult-Element
156 | Scoop Density | g/cm3
157 | P Spec | mg/kg | L_MODV2_SOIL_P_031 | SOIL | phosphorus | P | Mehlich 3 | MEHLICH_3 | Mehlich 3 (0.2N CH3COOH + 0.25N NH4NO3 + 0.013N HNO3 + 0.015N NH4F + 0.001M EDTA) | 1:10 | v/v | 5 min | Spectrophotometric | SPECTROPHOTOMETRIC | MEASURED | mg/L | mg1kg-1 | OFFICIAL | VALID | SERA-6 | Soil Test Methods From the Southeastern United States, SERA-IEG-6, 2014, Chapter 4.3
158 | P ICP-AES | mg/kg | L_MODV2_SOIL_P_032 | SOIL | phosphorus | P | Mehlich 3 | MEHLICH_3 | Mehlich 3 (0.2N CH3COOH + 0.25N NH4NO3 + 0.013N HNO3 + 0.015N NH4F + 0.001M EDTA) | 1:10 | m/v | 5 min | ICP-OES | ICP-OES | MEASURED | g/kg | g1kg-1 | OFFICIAL | VALID | SERA-6, NCERA-13, NEC-1812 | Soil Test Methods From the Southeastern United States, SERA-IEG-6, 2014, Chapter 4.3
159 | K | mg/kg | L_MODV2_SOIL_K_031 | SOIL | potassium | K | Mehlich 3 | MEHLICH_3 | Mehlich 3 (0.2N CH3COOH + 0.25N NH4NO3 + 0.013N HNO3 + 0.015N NH4F + 0.001M EDTA) | 1:10 | m/v | 5 min | ICP-OES / AAS | ICP-OES_AAS | MEASURED | g/kg | g1kg-1 | OFFICIAL | VALID | SERA-6, NCERA-13, NEC-1812 | Soil Test Methods From the Southeastern United States, SERA-IEG-6, 2014, Chapter 4.3
160 | Ca | mg/kg | L_MODV2_SOIL_CA_021 | SOIL | calcium | CA | Mehlich 3 | MEHLICH_3 | Mehlich 3 (0.2N CH3COOH + 0.25N NH4NO3 + 0.013N HNO3 + 0.015N NH4F + 0.001M EDTA) | 1:10 | m/v | 5 min | ICP-OES / AAS | ICP-OES_AAS | MEASURED | g/kg | g1kg-1 | OFFICIAL | VALID | SERA-6, NCERA-13, NEC-1812 | Soil Test Methods From the Southeastern United States, SERA-IEG-6, 2014, Chapter 4.3
161 | Mg | mg/kg | L_MODV2_SOIL_MG_022 | SOIL | magnesium | MG | Mehlich 3 | MEHLICH_3 | Mehlich 3 (0.2N CH3COOH + 0.25N NH4NO3 + 0.013N HNO3 + 0.015N NH4F + 0.001M EDTA) | 1:10 | m/v | 5 min | ICP-OES / AAS | ICP-OES_AAS | MEASURED | g/kg | g1kg-1 | OFFICIAL | VALID | SERA-6, NCERA-13, NEC-1812 | Soil Test Methods From the Southeastern United States, SERA-IEG-6, 2014, Chapter 4.3
162 | Na | mg/kg | L_MODV2_SOIL_NA_013 | SOIL | sodium | NA | Mehlich 3 | MEHLICH_3 | Mehlich 3 (0.2N CH3COOH + 0.25N NH4NO3 + 0.013N HNO3 + 0.015N NH4F + 0.001M EDTA) | 1:10 | m/v | 5 min | ICP-OES / AAS | ICP-OES_AAS | MEASURED | g/kg | g1kg-1 | OFFICIAL | VALID | SERA-6, NCERA-13, NEC-1812 | Soil Test Methods From the Southeastern United States, SERA-IEG-6, 2014, Chapter 4.3
163 | S | mg/kg | L_MODV2_SOIL_S_026 | SOIL | sulfur | S | Mehlich 3 | MEHLICH_3 | Mehlich 3 (0.2N CH3COOH + 0.25N NH4NO3 + 0.013N HNO3 + 0.015N NH4F + 0.001M EDTA) | 1:10 | m/v | 5 min | ICP-OES | ICP-OES | MEASURED | g/kg | g1kg-1 | PROVISIONAL | VALID | SERA-6, NCERA-13, NEC-1812 | Soil Test Methods From the Southeastern United States, SERA-IEG-6, 2014, Chapter 4.3
164 | Al | mg/kg | L_MODV2_SOIL_AL_012 | SOIL | aluminum | AL | Mehlich 3 | MEHLICH_3 | Mehlich 3 (0.2N CH3COOH + 0.25N NH4NO3 + 0.013N HNO3 + 0.015N NH4F + 0.001M EDTA) | 1:10 | m/v | 5 min | ICP-OES / AAS | ICP-OES_AAS | MEASURED | g/kg | g1kg-1 | PROVISIONAL | VALID | SERA-6, NCERA-13, NEC-1812 | Soil Test Methods From the Southeastern United States, SERA-IEG-6, 2014, Chapter 4.3
165 | Zn | mg/kg | L_MODV2_SOIL_ZN_015 | SOIL | zinc | ZN | Mehlich 3 | MEHLICH_3 | Mehlich 3 (0.2N CH3COOH + 0.25N NH4NO3 + 0.013N HNO3 + 0.015N NH4F + 0.001M EDTA) | 1:10 | m/v | 5 min | ICP-OES / AAS | ICP-OES_AAS | MEASURED | g/kg | g1kg-1 | OFFICIAL | VALID | SERA-6 | Soil Test Methods From the Southeastern United States, SERA-IEG-6, 2014, Chapter 4.3
166 | Mn | mg/kg | L_MODV2_SOIL_MN_014 | SOIL | manganese | MN | Mehlich 3 | MEHLICH_3 | Mehlich 3 (0.2N CH3COOH + 0.25N NH4NO3 + 0.013N HNO3 + 0.015N NH4F + 0.001M EDTA) | 1:10 | v/v | 5 min | ICP-OES / AAS | ICP-OES_AAS | MEASURED | mg/L | mg1kg-1 | OFFICIAL | VALID | SERA-6 | Soil Test Methods From the Southeastern United States, SERA-IEG-6, 2014, Chapter 4.3
167 | Fe | mg/kg | L_MODV2_SOIL_FE_015 | SOIL | iron | FE | Mehlich 3 | MEHLICH_3 | Mehlich 3 (0.2N CH3COOH + 0.25N NH4NO3 + 0.013N HNO3 + 0.015N NH4F + 0.001M EDTA) | 1:10 | m/v | 5 min | ICP-OES / AAS | ICP-OES_AAS | MEASURED | g/kg | g1kg-1 | OFFICIAL | VALID | SERA-6, NCERA-13, NEC-1812 | Soil Test Methods From the Southeastern United States, SERA-IEG-6, 2014, Chapter 4.3
168 | Cu | mg/kg | L_MODV2_SOIL_CU_014 | SOIL | copper | CU | Mehlich 3 | MEHLICH_3 | Mehlich 3 (0.2N CH3COOH + 0.25N NH4NO3 + 0.013N HNO3 + 0.015N NH4F + 0.001M EDTA) | 1:10 | m/v | 5 min | ICP-OES / AAS | ICP-OES_AAS | MEASURED | g/kg | g1kg-1 | OFFICIAL | VALID | SERA-6, NCERA-13, NEC-1812 | Soil Test Methods From the Southeastern United States, SERA-IEG-6, 2014, Chapter 4.3
169 | B | mg/kg | L_MODV2_SOIL_B_017 | SOIL | boron | B | Mehlich 3 | MEHLICH_3 | Mehlich 3 (0.2N CH3COOH + 0.25N NH4NO3 + 0.013N HNO3 + 0.015N NH4F + 0.001M EDTA) | 1:10 | m/v | 5 min | ICP-OES / AAS | ICP-OES_AAS | MEASURED | g/kg | g1kg-1 | OFFICIAL | VALID | SERA-6, NCERA-13, NEC-1812 | Soil Test Methods From the Southeastern United States, SERA-IEG-6, 2014, Chapter 4.3
Micronutrients
170 | Zn - DTPA | mg/kg | L_MODV2_SOIL_ZN_002 | SOIL | zinc | ZN | DTPA | DTPA | DTPA (0.005 M DTPA, 0.01 M CaCl2 and 0.10 M Triethanolamine adjusted to pH 7.3) | 1:2 | m/v | 120 min | ICP-OES / AAS | ICP-OES_AAS | MEASURED | g/kg | g1kg-1 | OFFICIAL | VALID | WERA-103, SERA 6 | Soil, Plant and Water Reference Methods for the Western Region, 4th Edition, 2013, WERA-103. Method S-6.10
171 | Mn - DTPA | mg/kg | L_MODV2_SOIL_MN_003 | SOIL | manganese | MN | DTPA-Sorbitol | DTPA-SORBITOL | DTPA-Sorbitol (0.005 M DTPA, 0.01 M CaCl2 and 0.10 M Triethanolamine and 0.20M of Sorbitol, adjusted to pH 7.3 and .) | 1:2 | m/v | 120 min | ICP-OES | ICP-OES | MEASURED | g/kg | g1kg-1 | OFFICIAL | VALID | WERA-103, SERA 6 | Soil, Plant and Water Reference Methods for the Western Region, 4th Edition, 2013, WERA-103. Method S-6.12
172 | Fe - DTPA | mg/kg | L_MODV2_SOIL_FE_004 | SOIL | iron | FE | DTPA-Sorbitol | DTPA-SORBITOL | DTPA-Sorbitol (0.005 M DTPA, 0.01 M CaCl2 and 0.10 M Triethanolamine and 0.20M of Sorbitol, adjusted to pH 7.3 and .) | 1:2 | m/v | 120 min | ICP-OES | ICP-OES | MEASURED | g/kg | g1kg-1 | OFFICIAL | VALID | WERA-103, SERA 6 | Soil, Plant and Water Reference Methods for the Western Region, 4th Edition, 2013, WERA-103. Method S-6.12
173 | Cu - DTPA | mg/kg | L_MODV2_SOIL_CU_003 | SOIL | copper | CU | DTPA-Sorbitol | DTPA-SORBITOL | DTPA-Sorbitol (0.005 M DTPA, 0.01 M CaCl2 and 0.10 M Triethanolamine and 0.20M of Sorbitol, adjusted to pH 7.3 and .) | 1:2 | m/v | 120 min | ICP-OES | ICP-OES | MEASURED | g/kg | g1kg-1 | OFFICIAL | VALID | WERA-103, SERA 6 | Soil, Plant and Water Reference Methods for the Western Region, 4th Edition, 2013, WERA-103. Method S-6.12
174 | Zn - HCl | mg/kg
175 | Mn-H3PO4 | mg/kg | L_MODV2_SOIL_MN_019 | SOIL | manganese | MN | Phosphoric Acid | PHOSPHORIC_ACID | Phosphoric Acid (0.033 M H3PO) | 1:10 | m/v | 10 min | ICP-OES / AAS | ICP-OES_AAS | MEASURED | g/kg | g1kg-1 | OFFICIAL | VALID | NCERA-13 | North Central Regional Research Publication No. 221 (Revised 2015), Chapter 9, p 9.3
176 | Cl - Ca(NO3)2 Extr. | mg/kg | L_MODV2_SOIL_ZN_009 | SOIL | zinc | ZN | Hydrochloric Acid | HYDROCHLORIC_ACID | 0.1 M HCl | 1:4 | m/v | 30 min | ICP-OES / AAS | ICP-OES_AAS | MEASURED | g/kg | g1kg-1 | OFFICIAL | VALID | NCERA-13, NEC-1812 | North Central Regional Research Publication No. 221 (Revised 2015), Chapter 9, pp 9.2-9.3
177 | B - Hot Wat. | mg/kg | L_MODV2_SOIL_B_001 | SOIL | boron | B | Calcium Chloride | CALCIUM_CHLORIDE | Hot CaCl2 (NCERA, SERA, WERA.. All three different concentration of CaCl2) | 1:10 | m/v | 30 min | ICP-OES | ICP-OES | MEASURED | g/kg | g1kg-1 | OFFICIAL | VALID | #REF! | #REF!
178 | B-DTPA/Sorbitol | mg/kg | L_MODV2_SOIL_B_011 | SOIL | boron | B | DTPA-Sorbitol | DTPA-SORBITOL | DTPA-Sorbitol (0.005 M DTPA, 0.01 M CaCl2 and 0.10 M Triethanolamine and 0.20M of Sorbitol, adjusted to pH 7.3 and .) | 1:2 | m/v | 120 min | ICP-OES | ICP-OES | MEASURED | g/kg | g1kg-1 | OFFICIAL | VALID | WERA-103, SERA 6 | Soil, Plant and Water Reference Methods for the Western Region, 4th Edition, 2013, WERA-103. Method S-6.12
Soil Organic Matter
179 | Soil Kjeldahl N | % | L_MODV2_SOIL_TKN_001 | SOIL | nitrogen, total | TKN | Kjeldahl | KJELDAHL | 18 M H2SO4 | 1:10 (varies) | m/v | 45-75 minutes | Titration | TITRATION | MEASURED | % | prcnt | OFFICIAL | VALID | SSSA | Methods of Soil Analysis: Part 2 Chemical and Microbiological Properties, 9.2.2, Second Edition, Chapter 31.
180 | Soil Total N (combustion) | % | L_MODV2_SOIL_TN_002 | SOIL | nitrogen, total | TN | Combustion | COMBUSTION | Combustion | N/A | m | 10 min typical | Combustion Analyzer | COMBUSTION_ANALYZER | MEASURED | % | prcnt | OFFICIAL | VALID | WERA-103 | Soil, Plant and Water Reference Methods for the Western Region, 2005, Method S-9.30, pp 116-118.
1802 | Soil Total Carbon | % | L_MODV2_SOIL_TC_001 | SOIL | carbon, total | TC | Combustion | COMBUSTION | Combustion | N/A | m | #REF! | Gravimetric | GRAVIMETRIC | MEASURED | % | prcnt | EXPERIMENTAL | RETIRED | #REF! | #REF!
181 | Soil TOC (Combustion) | % | L_MODV2_SOIL_OC_001 | SOIL | organic carbon | OC | Combustion | COMBUSTION | Combustion | N/A | m | N/A | Combustion Analyzer | COMBUSTION_ANALYZER | MEASURED | % | prcnt | OFFICIAL | VALID | WERA-103 | Soil, Plant and Water Reference Methods for the Western Region, 3rd Edition, 2005, Method S-9.10, pp 111-113.
1812 | Soil Inorganic C (pressure Trans) | % | L_MODV2_SOIL_CACO3_003 | SOIL | calcium carbonate | CACO3 | Pressure Calcimeter | PRESSURE_CALCIMETER | Hydrochloric Acid | 1:2.5 | m | #REF! | CO2 Displacement | CO2_DISPLACEMENT | MEASURED | % | prcnt | OFFICIAL | VALID | SSSA | Methods of Soil Analysis: Part 2 Microbiological and Biochemical Properties, 5.2, 1994. (91-7)
1813 | Soil Inorganic C (TC-TOC) | %
182 | SOM - Walkley-Black Spec | % | L_MODV2_SOIL_OM_005 | SOIL | organic matter | OM | Walkley-Black | WALKLEY-BLACK | Walkley-Black (0.5 M Na2Cr2O7 •2H2O in 5 M H2SO4) | 1:10 | m/v | 30 min | Spectrophotometric | SPECTROPHOTOMETRIC | MEASURED | % | prcnt | OFFICIAL | VALID | NCERA-13 | North Central Regional Research Publication No. 221 (Revised 2015), Chapter 12, pp 12.4-12.5.
1822 | SOM - Walkley-Black LOI regressed | %
183 | SOM - LOI ( % Wt loss) | % | L_MODV2_SOIL_OM_004 | SOIL | organic matter | OM | Loss on Ignition (LOI) | LOSS_ON_IGNITION | Loss-on-Ignition - Heat at 360C for two hours (after temperature reaches 360C) | N/A | m | 120 min | Gravimetric | GRAVIMETRIC | MEASURED | % | prcnt | OFFICIAL | VALID | NCERA-13 | North Central Regional Research Publication No. 221 (Revised 2015), Chapter 12, pp 12.5-12.6.
184 | SOM - Actual (Unregressed) | % | L_MODV2_SOIL_OM_007 | SOIL | organic matter | OM | Loss on Ignition (LOI) | LOSS_ON_IGNITION | Loss-on-Ignition - Heat at 550C for two hours (after temperature reaches 360C) | N/A | m | 120 min | Gravimetric | GRAVIMETRIC | MEASURED | % | prcnt | EXPERIMENTAL | VALID | Cornell | https://bpb-us-e1.wpmucdn.com/blogs.cornell.edu/dist/7/9922/files/2022/04/CSH10-Soil-Organic-Matter-Loss-on-Ignition-Total-C-Soil-Organic-Carbon-and-Total-N-SOP-4-2022.pdf
185 | CaCO3 Content gravimetric | % | L_MODV2_SOIL_CACO3_005 | SOIL | calcium carbonate | CACO3 | Weight Loss | WEIGHT_LOSS | 3.0 N HCl, Weight Loss CO2 | 2:10 to 5:10 | Mass | 120 min | Gravimetric | GRAVIMETRIC | MEASURED | % | prcnt | OFFICIAL | VALID | WERA-103 | Soil, Plant and Water Reference Methods for the Western Region, 4th Edition, 2013. Method S-10.20
1852 | CaCO3 Content effervescent
186 | CEC - Cation Displacement | cmol/kg | L_MODV2_SOIL_CEC_001 | SOIL | cation exchange capacity | CEC | Ammonium Acetate | AMMONIUM_ACETATE | Displacement - Ammonium Acetate | 1:5 | m/v | 30 min | ICP-OES | ICP-OES | MEASURED | g/kg | g1kg-1 | OFFICIAL | VALID | WERA-103 | Soil, Plant and Water Reference Methods for the Western Region, 4th Edition, 2013, WERA-103. Method S-5.10
187 | CEC - Estimation | cmol/kg | L_MODV2_SOIL_CEC_008 | SOIL | cation exchange capacity | CEC | Calculation | CALCULATION | Calculation | Calculation | Calculation | Calculation | ICP-OES | ICP-OES | Calculation | cmol/kg | mol1kg-1 | OFFICIAL | VALID | NCERA-13 | North Central Regional Research Publication No. 221 (Revised 2015), Chapter 7, p 7.3
188 | Soil Density (Scoop) | g/cc
Particle Size Analysis
189 | Sand 2000 - 50 um | % | L_MODV2_SOIL_SANDC_001 | SOIL | sand - coarse | SANDC | Sodium Hexametaphosphate Solution / Electrical Mixer | SODIUM_HEXAMETAPHOSPHATE_SOLUTION_ELECTRICAL_MIXER | Dispersion / Sieve / Weigh | 1:20 (varies) | m/m |  | Gravimetric | GRAVIMETRIC | Calculation | % | prcnt | OFFICIAL | VALID | SSSA | Methods of Soil Analysis: Part 4 Physical Methods, 5.4. Gee and Or, 2002. Chapter 2.4. Particle-Size Analysis, pages 265-269.
190 | Silt 50 - 2 um | % | L_MODV2_SOIL_SILT_003 | SOIL | silt | SILT | Sodium Hexametaphosphate Solution / Electrical Mixer | SODIUM_HEXAMETAPHOSPHATE_SOLUTION_ELECTRICAL_MIXER | Dispersion / Sedimentation / Hydrometer | 1:20 (varies) | m/m | 5 min | Hydrometer | HYDROMETER | MEASURED | % | prcnt | OFFICIAL | VALID | SSSA | Methods of Soil Analysis: Part 4 Physical Methods, 5.4. Gee and Or, 2002. Chapter 2.4. Particle-Size Analysis, pages 278-283.
191 | Clay 2 - 0 um | % | L_MODV2_SOIL_CLAY_003 | SOIL | clay | CLAY | Sodium Hexametaphosphate Solution / Electrical Mixer | SODIUM_HEXAMETAPHOSPHATE_SOLUTION_ELECTRICAL_MIXER | Dispersion / Sedimentation / Hydrometer | 1:20 (varies) | m/m | Varies | Hydrometer | HYDROMETER | MEASURED | % | prcnt | OFFICIAL | VALID | SSSA | Methods of Soil Analysis: Part 4 Physical Methods, 5.4. Gee and Or, 2002. Chapter 2.4. Particle-Size Analysis, pages 278-283.
Moisture
192 | Field Moisture Capacity (FC) | % | L_MODV2_SOIL_GWC_03BAR_001 | SOIL | moisture content | GWC_03BAR | 0.33 Bar Moisture Tension | 0_33_BAR_MOISTURE_TENSION | Pressure Plate |  |  |  | Gravimetric | GRAVIMETRIC | MEASURED | % | prcnt | EXPERIMENTAL
193 | Permanent Wilting Point (WP) | % | L_MODV2_SOIL_GWC_15BAR_001 | SOIL | moisture content | GWC_15BAR | 15 Bar Moisture Tension | 15_BAR_MOISTURE_TENSION | Pressure Plate |  |  |  | Gravimetric | GRAVIMETRIC | MEASURED | % | prcnt | EXPERIMENTAL
194 | Available Water Content (AWP) | % | L_MODV2_SOIL_AWHC_001 | SOIL | available water holding capacity | AWHC | Slurry | SLURRY | Ceramic plate method measured at -33 kPa (-10 kPa for sandy soils) and -1500 kPa | 1:4 | v/v |  | Gravimetric | GRAVIMETRIC | MEASURED | g/kg | g1kg-1 | OFFICIAL | VALID | Soil Health Institute | Klute, 1986
195 | Total Soil P (EPA-3050/3051/3052) | mg/kg | L_MODV2_SOIL_P_019 | SOIL | phosphorus | P | EPA 3050 | EPA_3050 | EPA 3050 Digestion (Nitric Acid, Hydrogen Peroxide), EPA 6010B Determination (ICP-OES) | 1:15 (varies) | m/v | Heat to 95C, reflux for 15 minutes, cool, then add 5 mL HNO3 and reflux for 30 minutes. Repeat last step as required. | ICP-OES | ICP-OES | MEASURED | g/kg | g1kg-1 | OFFICIAL | VALID | US-EPA | U.S. EPA. 1996. “Method 3050B: Acid Digestion of Sediments, Sludges, and Soils,” Revision 2. Washington, DC. / EPA Method 3050B (SW-846): Acid Digestion of Sediments, Sludges, and Soils, 1996.
196 | Solvita CO2 Soil Respiration Test | mg/kg | L_MODV2_SOIL_CMP_017 | SOIL | Carbon Mineralization Potential | CMP | Carbon Mineralization | CARBON_MINERALIZATION | 4-day incubation followed by CO2 measurement by EC trap | 20:8 | m/v | 4 days | Electrical Conductivity | ELECTRICAL_CONDUCTIVITY | MEASURED | g/kg | g1kg-1 | PROVISIONAL | VALID | Cornell | Mobius-Clune, et.al., 2016. Comprehensive Assessment of Soil Health. Soil Respiration, p 51-52. Third addition, Cornell University.
197 | Soil Nitrogen Mineralization Potential, | mg/kg | L_MODV2_SOIL_NMR_001 | SOIL | nitrogen mineralization rate | NMR | Incubation | INCUBATION | Short-term anaerobic incubation with ammonium and nitrate measured colorimetrically pre- and post-incubation | 1:10 | m/v | Varies | Spectrophotometric | SPECTROPHOTOMETRIC | MEASURED | g/kg | g1kg-1 | OFFICIAL | VALID | Soil Health Institute | Bundy and Meisinger, 1994
198 | DTPA-sorbitol extractable S | mg/kg | L_MODV2_SOIL_S_015 | SOIL | sulfur | S | DTPA-Sorbitol | DTPA-SORBITOL | DTPA-Sorbitol (0.005 M DTPA, 0.01 M CaCl2 and 0.10 M Triethanolamine and 0.20M of Sorbitol, adjusted to pH 7.3 and .) | 1:2 | m/v | 120 min | ICP-OES | ICP-OES | MEASURED | g/kg | g1kg-1 | PROVISIONAL | VALID | WERA-103, SERA 6 | Soil, Plant and Water Reference Methods for the Western Region, 4th Edition, 2013, WERA-103. Method S-6.12
199 | DTPA-sorbitol extractable Al | mg/kg | L_MODV2_SOIL_AL_006 | SOIL | aluminum | AL | DTPA-Sorbitol | DTPA-SORBITOL | DTPA-Sorbitol (0.005 M DTPA, 0.01 M CaCl2 and 0.10 M Triethanolamine and 0.20M of Sorbitol, adjusted to pH 7.3 and .) | 1:2 | m/v | 120 min | ICP-OES | ICP-OES | MEASURED | g/kg | g1kg-1 | EXPERIMENTAL | VALID | WERA-103 | Soil, Plant and Water Reference Methods for the Western Region, 4th Edition, 2013, WERA-103. Method S-6.12
200 | ISU Wet Soil K test | mg/kg | L_MODV2_SOIL_K_028 | SOIL | potassium | K | Field-moist K | M3_-_FIELD-MOIST_K |  |  |  |  | ICP-OES | ICP-OES | MEASURED | g/kg | g1kg-1 | EXPERIMENTAL | RETIRED | #REF! | #REF!